## T1 p10 QC
Table 1 (PDF p.10): QC tests and criteria, report vs ours
Note: Report column transcribed from Table 1; 'Ours' summarises docs/qc-framework.md. Solar radiation is not analysed by us. [CSV: data/report-comparison/table-01_p10_qc-criteria.csv]
Test | Variable | Report criterion (Table 1) | Ours (docs/qc-framework.md) | method-differences.md
Step test | Temperature | Difference > 2 °C | Same limit, flag only; kept if a co-located instrument shows the same change (Steps 4a, 6a) | G20, G22
Step test | Relative humidity | Difference > 15% | Same limit, flag only (Steps 4a, 6a); separate HTU21D bit-switching removal | G11, G20
Step test | Actual pressure | Difference > 0.5 mb | Same limit, flag only (Steps 4a, 6a) | G20
Step test | Precipitation | Difference > 5 mm | Same limit, flag only (rain is never removed) | G20
Step test | Wind speed | Difference > 8 m/s | Same limit, flag only; wind flags are never removed | G20
Step test | Wind direction | – | Not tested (same) | G20
Interval test | Temperature | −50 ≤ x ≤ 50; varies by month | Fixed instrument/physical limits; monthly climatological limits not yet implemented (report's values not given) | PF-39
Interval test | Relative humidity | 0 ≤ x ≤ 105; 5 ≤ x ≤ 100 | Fixed limits; stuck sensors removed as documented failures | G14
Interval test | Actual pressure | 700 ≤ x ≤ 1070; varies by month | Fixed limits | PF-39
Interval test | Precipitation | 0 ≤ x ≤ 12; x ≤ 5 | Fixed limits
Interval test | Wind speed | 0 ≤ x ≤ 100; x ≤ 17.2 | Fixed limits
Interval test | Wind direction | 0 ≤ x ≤ 360 | 0–360
Logic test | Precipitation | When it is raining, humidity should be above 60% | Flag only (rain_low_rh), not removed | G19
Logic test | Wind speed / direction | When wind speed is measured, direction should be measured; when speed is 0, direction cannot be 0 | Not a QC removal; in these tables direction is compared only where both anemometers read > 0 | WD5
Logic test | Solar radiation (VIS, IR) | Measurement between sunrise and sunset | Solar radiation not analysed
Persistence test | Temperature | Value repeated 100 consecutive times (−50 ≤ x ≤ 50) | Removed if unchanged for 3 h; plus frozen-logger test (all variables unchanged ≥ 60 min) | G21
Persistence test | Relative humidity | Value repeated 100 consecutive times (0 < x ≤ 105) | Removed if unchanged for 3 h and below 80% (saturation plateaus are real) | G21
Persistence test | Actual pressure | Value repeated 100 consecutive times (700 ≤ x ≤ 1070) | Removed if unchanged for 3 h | G21
Persistence test | Precipitation | Not applicable | Not applied (same); dead gauges found by the daily neighbour check (flag) | G21
Persistence test | Wind speed | Value repeated 100 consecutive times (1 ≤ x ≤ 100) | Not tested; calm runs ≥ 3 h removed when ≥ 2 other 3D-PAWS anemometers read ≥ 1.5 m/s (Step 6b) | G21
Persistence test | Wind direction | Value repeated 120 consecutive times (1 ≤ x ≤ 360) | Removed if unchanged through a run with ≥ 60 min of wind ≥ 1 m/s | G21
Persistence test | Solar radiation (VIS, IR) | Value repeated 100 consecutive times (1 ≤ x ≤ 20000) | Solar radiation not analysed
Statistical outliers (§4.4) | All | 61-point centred window; MAD score > 3.5 or ¦z¦ > 3.0; flagged values excluded | 21-min centred window, Hampel k = 3 (MAD × 1.4826) or ¦z¦ > 3 with a resolution floor; flag only, removed if no co-located instrument corroborates; not applied to wind or rain | G12, G15, G18, G22, G23
Spatial consistency (§4.5) | All (3D-PAWS only) | Deviation from the 3D-PAWS site median > variable threshold (not given), ≥ 3 valid observations; flagged values excluded | Each instrument's deviation from its own 21-min median compared across all co-located instruments incl. the reference; confirms/clears flags | G24
Daily completeness (§5.2) | All | ≥ 1,152 of 1,440 minutes; used for daily aggregation and event analyses only | Step 7 blanks < 80% days in data/cleaned for every analysis; the parity tables restore those minutes | G3

## T2 p16 completeness
Table 2 (PDF p.16): overall data completeness %, 1 Nov 2022 – 31 Oct 2025
Note: (report) = transcribed; (ours) = QC-valid minutes / 1,578,240. Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). 'before QC removals' also counts values our QC removed (missing/null markers stay missing), bracketing the report's undefined 'availability'. 3D-PAWS: Temperature = MCP9808, RH = active sensor (SHT31D, else HTU21D), Pressure = BMP280 (report Table 1); 'Temp/RH <sensor>' columns are extra sensors the report doesn't show. Reference rows: 17130, 17245, 17351. [CSV: data/report-comparison/table-02_p16_completeness.csv]
Site | Station | Temperature (report) | Temperature (ours) | Temperature before QC removals (ours) | RH (report) | RH (ours) | RH before QC removals (ours) | Pressure (report) | Pressure (ours) | Pressure before QC removals (ours) | Wind speed (report) | Wind speed (ours) | Wind speed before QC removals (ours) | Temp BMP280 (ours) | Temp HTU21D (ours) | Temp SHT31D (ours) | RH HTU21D (ours) | RH SHT31D (ours)
Ankara | 17130 | 98.33 | 98.55 | 98.74 | 85.53 | 98.43 | 98.72 | 98.24 | 98.46 | 98.67 | 98.07 | 98.58 | 98.76
Ankara | TSMS00 | 97.48 | 98.44 | 98.46 | 77.43 | 72.33 | 98.81 | 87.14 | 87.68 | 87.69 | 90.72 | 95.92 | 95.92 | 87.68 | 80.75 | 0 | 72.33 | 0
Ankara | TSMS01 | 81.48 | 82.4 | 82.4 | 62.87 | 63.95 | 80.28 | 57.03 | 57.57 | 57.57 | 85.46 | 86.45 | 86.45 | 57.57 | 67.02 | 0 | 63.95 | 0
Ankara | TSMS02 | 80.94 | 81.77 | 81.77 | 70.97 | 70.76 | 81.61 | 81.32 | 81.77 | 81.77 | 52.77 | 56.56 | 82.35 | 81.77 | 29.94 | 42.96 | 28.14 | 42.62
Konya | 17245 | 94.28 | 98.01 | 98.01 | 82.74 | 98 | 98.01 | 97.81 | 98.01 | 98.01 | 99.28 | 98.01 | 98.01
Konya | TSMS03 | 88.82 | 93.64 | 93.64 | 87.62 | 92.42 | 93.2 | 89.11 | 93.64 | 93.64 | 66.4 | 93.71 | 93.71 | 93.62 | 39.8 | 53.74 | 38.86 | 53.56
Konya | TSMS04 | 88.82 | 88.41 | 88.42 | 83.56 | 87.9 | 90.51 | 89.12 | 93.64 | 93.64 | 73.64 | 93.65 | 93.65 | 88.42 | 87.43 | 0 | 87.9 | 0
Konya | TSMS05 | 88.8 | 93.69 | 93.69 | 87.94 | 93.14 | 93.43 | 89.16 | 93.69 | 93.69 | 70.82 | 93.7 | 93.7 | 93.69 | 39.86 | 53.64 | 39.58 | 53.55
Adana | 17351 | 98.62 | 99.05 | 99.07 | 80.29 | 98.36 | 98.37 | 98.83 | 99.07 | 99.07 | 81.95 | 93.18 | 99.07
Adana | TSMS06 | 86.41 | 87.23 | 94.71 | 85.42 | 86.25 | 94.38 | 71.87 | 72.48 | 95.21 | 90.25 | 95.26 | 95.26 | 87.66 | 37.85 | 49.07 | 37.33 | 48.92
Adana | TSMS07 | 95.81 | 96.65 | 96.65 | 91.99 | 92.22 | 93.94 | 80.23 | 80.83 | 94.64 | 91.2 | 96.65 | 96.65 | 80.82 | 96.65 | 0 | 92.22 | 0
Adana | TSMS08 | 95.94 | 96.64 | 96.8 | 81.11 | 81.59 | 82.92 | 79.83 | 80.27 | 80.56 | 55.15 | 58.02 | 96.86 | 96.66 | 38.02 | 44.73 | 37.03 | 44.56

## T3 p17 daily
Table 3 (PDF p.17): % of the 1,096 days with ≥ 1,152 valid minutes (80% criterion)
Note: (report) = transcribed; (ours) = days with ≥ 1,152 QC-valid minutes / 1,096; 'days' = the count. Same sensors and 'before QC removals' definition as Table 2. The report's percentages all correspond to whole day counts. [CSV: data/report-comparison/table-03_p17_daily-completeness.csv]
Site | Station | Temperature (report) | Temperature (ours) | Temperature days (ours) | Temperature before QC removals (ours) | RH (report) | RH (ours) | RH days (ours) | RH before QC removals (ours) | Pressure (report) | Pressure (ours) | Pressure days (ours) | Pressure before QC removals (ours) | Wind speed (report) | Wind speed (ours) | Wind speed days (ours) | Wind speed before QC removals (ours) | Temp BMP280 (ours) | Temp BMP280 days (ours) | Temp HTU21D (ours) | Temp HTU21D days (ours) | Temp SHT31D (ours) | Temp SHT31D days (ours) | RH HTU21D (ours) | RH HTU21D days (ours) | RH SHT31D (ours) | RH SHT31D days (ours)
Ankara | 17130 | 98.18 | 98.27 | 1077 | 98.45 | 83.03 | 97.99 | 1074 | 98.45 | 97.99 | 97.99 | 1074 | 98.18 | 98.27 | 98.27 | 1077 | 98.45
Ankara | TSMS00 | 98.08 | 98.63 | 1081 | 98.63 | 46.72 | 45.8 | 502 | 98.81 | 86.95 | 87.5 | 959 | 87.5 | 88.59 | 96.08 | 1053 | 96.08 | 87.5 | 959 | 46.99 | 515 | 0 | 0 | 45.8 | 502 | 0 | 0
Ankara | TSMS01 | 81.2 | 81.84 | 897 | 81.84 | 41.97 | 42.61 | 467 | 77.1 | 56.39 | 56.93 | 624 | 56.93 | 85.13 | 85.95 | 942 | 85.95 | 56.93 | 624 | 45.07 | 494 | 0 | 0 | 42.61 | 467 | 0 | 0
Ankara | TSMS02 | 80.29 | 80.66 | 884 | 80.66 | 59.58 | 60.04 | 658 | 80.57 | 80.38 | 80.66 | 884 | 80.66 | 49.54 | 55.84 | 612 | 81.66 | 80.66 | 884 | 18.25 | 200 | 42.06 | 461 | 18.07 | 198 | 41.97 | 460
Konya | 17245 | 91.97 | 98.18 | 1076 | 98.18 | 78.19 | 98.18 | 1076 | 98.18 | 99.18 | 98.18 | 1076 | 98.18 | 99.91 | 98.18 | 1076 | 98.18
Konya | TSMS03 | 88.59 | 93.16 | 1021 | 93.16 | 87.68 | 91.24 | 1000 | 92.06 | 88.69 | 93.16 | 1021 | 93.16 | 56.84 | 93.25 | 1022 | 93.25 | 93.16 | 1021 | 39.6 | 434 | 53.19 | 583 | 38.05 | 417 | 53.19 | 583
Konya | TSMS04 | 88.41 | 87.68 | 961 | 87.68 | 78.47 | 81.02 | 888 | 86.13 | 88.5 | 92.97 | 1019 | 92.97 | 56.3 | 92.97 | 1019 | 92.97 | 87.68 | 961 | 84.31 | 924 | 0 | 0 | 81.02 | 888 | 0 | 0
Konya | TSMS05 | 88.32 | 92.88 | 1018 | 92.88 | 88.32 | 92.43 | 1013 | 92.52 | 88.41 | 92.88 | 1018 | 92.88 | 52.1 | 92.88 | 1018 | 92.88 | 92.88 | 1018 | 39.87 | 437 | 52.74 | 578 | 39.69 | 435 | 52.74 | 578
Adana | 17351 | 97.9 | 97.99 | 1074 | 97.99 | 65.05 | 96.9 | 1062 | 96.9 | 97.99 | 97.99 | 1074 | 97.99 | 64.42 | 91.97 | 1008 | 97.99
Adana | TSMS06 | 85.86 | 86.77 | 951 | 93.25 | 84.76 | 85.49 | 937 | 92.88 | 71.26 | 71.9 | 788 | 94.07 | 88.32 | 94.16 | 1032 | 94.16 | 87.14 | 955 | 37.14 | 407 | 49.18 | 539 | 36.22 | 397 | 49.18 | 539
Adana | TSMS07 | 95.89 | 97.08 | 1064 | 97.08 | 88.59 | 88.41 | 969 | 90.97 | 80.29 | 80.93 | 887 | 94.98 | 89.87 | 97.08 | 1064 | 97.08 | 80.93 | 887 | 97.08 | 1064 | 0 | 0 | 88.41 | 969 | 0 | 0
Adana | TSMS08 | 95.89 | 96.9 | 1062 | 96.99 | 80.93 | 81.57 | 894 | 83.03 | 79.65 | 80.2 | 879 | 80.66 | 50.27 | 58.49 | 641 | 97.17 | 96.99 | 1063 | 37.41 | 410 | 45.44 | 498 | 36.04 | 395 | 45.44 | 498

## T4 p18 temperature
Table 4 (PDF p.18): air temperature after QC, 3D-PAWS − TSMS, 1-min pairs
Note: Report values only on the MCP9808 row (the report's sensor, Table 1); BMP280/HTU21D/SHT31D rows are ours only (SHT31D only where installed: TSMS02, 03, 05, 06, 08). N = paired minutes where both are QC-valid. Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). The same comparison on data/cleaned as written (≥ 80% days only) is in continuous-variables.csv. [CSV: data/report-comparison/table-04_p18_temperature.csv]
Site | Station | Sensor | In report? | N (report) | N (ours) | Bias (report) | Bias (ours) | MAE (report) | MAE (ours) | RMSE (report) | RMSE (ours) | R2 (report) | R2 (ours)
Ankara | TSMS00 | MCP9808 | yes (report sensor) | 1514469 | 1532299 | 0.056 | 0.059 | 0.46 | 0.468 | 0.619 | 0.656 | 0.997 | 0.996
Ankara | TSMS00 | BMP280 | no (extra sensor/variant) |  | 1364021 |  | 0.159 |  | 0.482 |  | 0.668 |  | 0.996
Ankara | TSMS00 | HTU21D | no (extra sensor/variant) |  | 1256923 |  | -0.437 |  | 0.702 |  | 2.067 |  | 0.955
Ankara | TSMS01 | MCP9808 | yes (report sensor) | 1264441 | 1280870 | -0.073 | -0.069 | 0.534 | 0.541 | 0.714 | 0.749 | 0.995 | 0.995
Ankara | TSMS01 | BMP280 | no (extra sensor/variant) |  | 904567 |  | -0.175 |  | 0.604 |  | 0.764 |  | 0.993
Ankara | TSMS01 | HTU21D | no (extra sensor/variant) |  | 1041017 |  | 0.232 |  | 0.789 |  | 2.72 |  | 0.915
Ankara | TSMS02 | MCP9808 | yes (report sensor) | 1256261 | 1271432 | 0.017 | 0.032 | 0.445 | 0.463 | 0.619 | 0.747 | 0.996 | 0.994
Ankara | TSMS02 | BMP280 | no (extra sensor/variant) |  | 1271477 |  | 0.013 |  | 0.492 |  | 0.757 |  | 0.994
Ankara | TSMS02 | HTU21D | no (extra sensor/variant) |  | 470971 |  | -0.048 |  | 0.732 |  | 2.826 |  | 0.911
Ankara | TSMS02 | SHT31D | no (extra sensor/variant) |  | 661372 |  | 0.115 |  | 0.446 |  | 0.699 |  | 0.995
Konya | TSMS03 | MCP9808 | yes (report sensor) | 1314095 | 1447932 | 1.097 | 0.068 | 1.387 | 0.77 | 1.779 | 0.993 | 0.98 | 0.99
Konya | TSMS03 | BMP280 | no (extra sensor/variant) |  | 1447746 |  | 0.042 |  | 0.797 |  | 1.01 |  | 0.989
Konya | TSMS03 | HTU21D | no (extra sensor/variant) |  | 619383 |  | -0.144 |  | 0.646 |  | 0.821 |  | 0.992
Konya | TSMS03 | SHT31D | no (extra sensor/variant) |  | 826993 |  | 0.026 |  | 0.824 |  | 1.018 |  | 0.989
Konya | TSMS04 | MCP9808 | yes (report sensor) | 1315400 | 1365563 | 0.897 | -0.177 | 1.254 | 0.655 | 1.634 | 0.811 | 0.981 | 0.993
Konya | TSMS04 | BMP280 | no (extra sensor/variant) |  | 1365596 |  | 0.086 |  | 0.611 |  | 0.779 |  | 0.993
Konya | TSMS04 | HTU21D | no (extra sensor/variant) |  | 1350474 |  | -0.386 |  | 0.75 |  | 0.904 |  | 0.993
Konya | TSMS05 | MCP9808 | yes (report sensor) | 1314050 | 1448742 | 1.158 | 0.132 | 1.415 | 0.722 | 1.804 | 0.925 | 0.98 | 0.991
Konya | TSMS05 | BMP280 | no (extra sensor/variant) |  | 1448737 |  | 0.131 |  | 0.694 |  | 0.884 |  | 0.992
Konya | TSMS05 | HTU21D | no (extra sensor/variant) |  | 620351 |  | 0.555 |  | 0.736 |  | 0.959 |  | 0.993
Konya | TSMS05 | SHT31D | no (extra sensor/variant) |  | 825507 |  | -0.02 |  | 0.75 |  | 0.918 |  | 0.991
Adana | TSMS06 | MCP9808 | yes (report sensor) | 1351706 | 1368937 | 0.204 | 0.203 | 0.34 | 0.345 | 0.517 | 0.577 | 0.998 | 0.997
Adana | TSMS06 | BMP280 | no (extra sensor/variant) |  | 1375586 |  | 0.604 |  | 0.813 |  | 1.637 |  | 0.969
Adana | TSMS06 | HTU21D | no (extra sensor/variant) |  | 596775 |  | 0.262 |  | 0.386 |  | 0.581 |  | 0.996
Adana | TSMS06 | SHT31D | no (extra sensor/variant) |  | 767168 |  | 0.2 |  | 0.312 |  | 0.474 |  | 0.998
Adana | TSMS07 | MCP9808 | yes (report sensor) | 1499507 | 1517433 | 0.106 | 0.107 | 0.367 | 0.371 | 0.514 | 0.519 | 0.997 | 0.997
Adana | TSMS07 | BMP280 | no (extra sensor/variant) |  | 1267788 |  | 0.889 |  | 0.904 |  | 1.068 |  | 0.996
Adana | TSMS07 | HTU21D | no (extra sensor/variant) |  | 1517463 |  | -0.2 |  | 0.465 |  | 0.544 |  | 0.997
Adana | TSMS08 | MCP9808 | yes (report sensor) | 1501693 | 1517281 | 0.123 | 0.119 | 0.298 | 0.297 | 0.473 | 0.478 | 0.997 | 0.997
Adana | TSMS08 | BMP280 | no (extra sensor/variant) |  | 1517625 |  | 0.702 |  | 0.741 |  | 0.965 |  | 0.994
Adana | TSMS08 | HTU21D | no (extra sensor/variant) |  | 599513 |  | 0.07 |  | 0.307 |  | 0.424 |  | 0.998
Adana | TSMS08 | SHT31D | no (extra sensor/variant) |  | 698760 |  | 0.241 |  | 0.343 |  | 0.521 |  | 0.997

## T6a p30 humidity
Report 'Table 6' (PDF p.30; presumably Table 5): relative humidity after QC
Note: Report values beside the active-sensor row (SHT31D where present, else HTU21D; CHORDS labels both HTU21D_RH). HTU21D and SHT31D rows are ours only (SHT31D only where installed: TSMS02, 03, 05, 06, 08). Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). [CSV: data/report-comparison/table-06a_p30_humidity.csv]
Site | Station | Sensor | In report? | N (report) | N (ours) | Bias (report) | Bias (ours) | MAE (report) | MAE (ours) | RMSE (report) | RMSE (ours) | R2 (report) | R2 (ours)
Ankara | TSMS00 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1059354 | 1124946 | -2.204 | -2.199 | 4.101 | 3.73 | 6.468 | 6.48 | 0.918 | 0.925
Ankara | TSMS00 | HTU21D | no (extra sensor/variant) |  | 1124946 |  | -2.199 |  | 3.73 |  | 6.48 |  | 0.925
Ankara | TSMS01 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 856603 | 992461 | 0.494 | 0.293 | 4.142 | 4.112 | 7.22 | 8.279 | 0.888 | 0.864
Ankara | TSMS01 | HTU21D | no (extra sensor/variant) |  | 992461 |  | 0.293 |  | 4.112 |  | 8.279 |  | 0.864
Ankara | TSMS02 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 968502 | 1097925 | 0.262 | 0.195 | 2.877 | 2.983 | 5.805 | 6.575 | 0.926 | 0.91
Ankara | TSMS02 | HTU21D | no (extra sensor/variant) |  | 442527 |  | 0.537 |  | 4.729 |  | 9.872 |  | 0.805
Ankara | TSMS02 | SHT31D | no (extra sensor/variant) |  | 655398 |  | -0.036 |  | 1.804 |  | 2.574 |  | 0.986
Konya | TSMS03 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1150722 | 1428786 | -2.971 | 3.652 | 6.846 | 4.316 | 8.757 | 5.621 | 0.858 | 0.969
Konya | TSMS03 | HTU21D | no (extra sensor/variant) |  | 604566 |  | 6.062 |  | 6.498 |  | 7.704 |  | 0.984
Konya | TSMS03 | SHT31D | no (extra sensor/variant) |  | 824220 |  | 1.885 |  | 2.716 |  | 3.353 |  | 0.98
Konya | TSMS04 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1110912 | 1358741 | 0.206 | 6.855 | 5.84 | 7.132 | 7.621 | 8.546 | 0.878 | 0.978
Konya | TSMS04 | HTU21D | no (extra sensor/variant) |  | 1358741 |  | 6.855 |  | 7.132 |  | 8.546 |  | 0.978
Konya | TSMS05 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1155156 | 1440088 | -4.147 | 2.485 | 6.898 | 3.499 | 8.876 | 4.555 | 0.871 | 0.979
Konya | TSMS05 | HTU21D | no (extra sensor/variant) |  | 615983 |  | 3.514 |  | 4.892 |  | 5.948 |  | 0.985
Konya | TSMS05 | SHT31D | no (extra sensor/variant) |  | 824105 |  | 1.716 |  | 2.457 |  | 3.133 |  | 0.984
Adana | TSMS06 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1093229 | 1345127 | 0.76 | 0.341 | 3.102 | 3.346 | 4.031 | 4.397 | 0.971 | 0.97
Adana | TSMS06 | HTU21D | no (extra sensor/variant) |  | 585974 |  | 0.583 |  | 3.403 |  | 4.211 |  | 0.971
Adana | TSMS06 | SHT31D | no (extra sensor/variant) |  | 759153 |  | 0.154 |  | 3.302 |  | 4.536 |  | 0.971
Adana | TSMS07 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1198689 | 1447091 | 4.924 | 4.648 | 5.427 | 5.361 | 6.13 | 6.079 | 0.969 | 0.967
Adana | TSMS07 | HTU21D | no (extra sensor/variant) |  | 1447091 |  | 4.648 |  | 5.361 |  | 6.079 |  | 0.967
Adana | TSMS08 | Active sensor (SHT31D, else HTU21D) | yes (report sensor) | 1042763 | 1272997 | 1.801 | 1.403 | 3.549 | 3.659 | 4.518 | 4.611 | 0.968 | 0.97
Adana | TSMS08 | HTU21D | no (extra sensor/variant) |  | 582561 |  | 2.299 |  | 3.966 |  | 4.654 |  | 0.972
Adana | TSMS08 | SHT31D | no (extra sensor/variant) |  | 690436 |  | 0.647 |  | 3.399 |  | 4.575 |  | 0.975

## T6b p38 pressure
Report 'Table 6' (PDF p.38): atmospheric (station) pressure after QC
Note: BMP280 station pressure vs reference actual pressure (hPa). The report gives no sea-level-pressure table, so bmp2_slp is not compared. Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). [CSV: data/report-comparison/table-06b_p38_pressure.csv]
Site | Station | Sensor | In report? | N (report) | N (ours) | Bias (report) | Bias (ours) | MAE (report) | MAE (ours) | RMSE (report) | RMSE (ours) | R2 (report) | R2 (ours)
Ankara | TSMS00 | BMP280 station pressure | yes (report sensor) | 1351439 | 1363156 | 1.028 | 1.041 | 1.123 | 1.136 | 1.328 | 1.396 | 0.975 | 0.969
Ankara | TSMS01 | BMP280 station pressure | yes (report sensor) | 893326 | 903882 | 1.21 | 1.215 | 1.214 | 1.219 | 1.329 | 1.333 | 0.989 | 0.988
Ankara | TSMS02 | BMP280 station pressure | yes (report sensor) | 1260039 | 1269929 | 1.255 | 1.268 | 1.299 | 1.312 | 1.476 | 1.542 | 0.977 | 0.971
Konya | TSMS03 | BMP280 station pressure | yes (report sensor) | 1374546 | 1447962 | -1.133 | 0.4 | 1.595 | 0.58 | 1.783 | 0.793 | 0.916 | 0.981
Konya | TSMS04 | BMP280 station pressure | yes (report sensor) | 1374680 | 1448083 | -2.364 | -0.822 | 2.727 | 1.254 | 2.884 | 1.351 | 0.879 | 0.95
Konya | TSMS05 | BMP280 station pressure | yes (report sensor) | 1375160 | 1448749 | -1.861 | -0.351 | 2.06 | 0.638 | 2.302 | 0.748 | 0.916 | 0.981
Adana | TSMS06 | BMP280 station pressure | yes (report sensor) | 1126789 | 1138414 | 0.556 | 0.556 | 0.771 | 0.781 | 1.08 | 1.329 | 0.982 | 0.97
Adana | TSMS07 | BMP280 station pressure | yes (report sensor) | 1255723 | 1267986 | 0.107 | 0.104 | 0.665 | 0.663 | 0.829 | 0.827 | 0.985 | 0.985
Adana | TSMS08 | BMP280 station pressure | yes (report sensor) | 1251907 | 1261287 | 0.31 | 0.33 | 0.729 | 0.723 | 1.004 | 0.96 | 0.978 | 0.981

## T7 p47 wind speed
Table 7 (PDF p.47): wind speed after QC, TSMS 10 m adjusted to 2 m (Hellmann α = 0.30 / 0.35 / 0.25)
Note: Report method (§3.2, §3.8): only TSMS adjusted, U2 = U10 (2/10)^α, all paired minutes (calms kept); report values beside that row. The 'calm excluded' row is a sensitivity check: the report's N can't be reproduced by any single rule, but calm-excluded N is within −15% to +3% of it at every station while all pairs is 1.2–1.8× it, so the report probably dropped calm minutes (perhaps via Table 1's 'speed 0 → direction cannot be 0' logic test). Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). [CSV: data/report-comparison/table-07_p47_wind-speed.csv]
Site | Station | Sensor | In report? | Pairing | N (report) | N (ours) | Bias (report) | Bias (ours) | MAE (report) | MAE (ours) | RMSE (report) | RMSE (ours) | R2 (report) | R2 (ours)
Ankara | TSMS00 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 1210010 | 1492835 | 0.771 | 0.272 | 1.13 | 0.92 | 1.603 | 1.352 | 0.151 | 0.266
Ankara | TSMS00 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 1196042 |  | 0.415 |  | 1.038 |  | 1.474 |  | 0.194
Ankara | TSMS01 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 1116808 | 1345248 | -0.279 | -0.622 | 0.405 | 0.698 | 0.527 | 0.967 | 0.15 | 0.258
Ankara | TSMS01 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 1149902 |  | -0.667 |  | 0.733 |  | 0.988 |  | 0.235
Ankara | TSMS02 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 715155 | 875794 | 0.308 | -0.166 | 0.664 | 0.574 | 0.862 | 0.775 | 0.346 | 0.457
Ankara | TSMS02 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 681981 |  | -0.096 |  | 0.596 |  | 0.789 |  | 0.408
Konya | TSMS03 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 790085 | 1449069 | -0.528 | -0.352 | 0.615 | 0.389 | 0.79 | 0.524 | 0.161 | 0.39
Konya | TSMS03 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 754234 |  | -0.313 |  | 0.383 |  | 0.501 |  | 0.398
Konya | TSMS04 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 906116 | 1448263 | -0.557 | -0.309 | 0.638 | 0.354 | 0.808 | 0.449 | 0.165 | 0.553
Konya | TSMS04 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 824947 |  | -0.329 |  | 0.407 |  | 0.503 |  | 0.407
Konya | TSMS05 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 841917 | 1449014 | -0.677 | -0.41 | 0.746 | 0.439 | 0.934 | 0.564 | 0.059 | 0.354
Konya | TSMS05 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 714215 |  | -0.442 |  | 0.5 |  | 0.634 |  | 0.257
Adana | TSMS06 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 924004 | 1404036 | 0.288 | 0.07 | 0.479 | 0.389 | 0.62 | 0.522 | 0.531 | 0.565
Adana | TSMS06 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 857550 |  | 0.024 |  | 0.442 |  | 0.558 |  | 0.443
Adana | TSMS07 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 939328 | 1425954 | 0.254 | 0.026 | 0.468 | 0.368 | 0.604 | 0.505 | 0.537 | 0.584
Adana | TSMS07 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 855057 |  | -0.008 |  | 0.43 |  | 0.55 |  | 0.454
Adana | TSMS08 | 3D-PAWS anemometer (2 m) | yes (report sensor) | all QC-valid paired minutes (report method) | 554519 | 816781 | 0.235 | -0.026 | 0.449 | 0.411 | 0.588 | 0.596 | 0.416 | 0.421
Adana | TSMS08 | 3D-PAWS anemometer (2 m) | no (extra sensor/variant) | sensitivity: calm excluded (both anemometers > 0) |  | 489755 |  | 0.007 |  | 0.384 |  | 0.514 |  | 0.469

## T8 p55 wind dir
Table 8 (PDF p.55): circular wind-direction comparison
Note: Minimum circular separation ¦3D-PAWS − TSMS¦ at minutes where both anemometers read > 0 (the report doesn't state its calm rule; our N is 1.4–5× the report's). Ours = data/cleaned plus the minutes our Step 7 removed only for daily completeness (report definition). wind-direction.csv has the same on data/cleaned. [CSV: data/report-comparison/table-08_p55_wind-direction.csv]
Site | Station | N (report) | N (ours) | Mean abs error ° (report) | Mean abs error ° (ours) | Median abs error ° (report) | Median abs error ° (ours) | Within ±22.5° % (report) | Within ±22.5° % (ours) | Within ±45° % (report) | Within ±45° % (ours) | Within ±90° % (report) | Within ±90° % (ours)
Ankara | TSMS00 | 559144 | 1194292 | 45.8 | 51.84 | 36 | 40.52 | 32.79 | 29.37 | 59.65 | 54.45 | 87.32 | 82.41
Ankara | TSMS01 | 369309 | 1049397 | 48.05 | 53.86 | 31.87 | 37.63 | 37.83 | 32.57 | 62.84 | 56.76 | 82.08 | 78.76
Ankara | TSMS02 | 380553 | 670700 | 45.58 | 49.25 | 33.51 | 35 | 34.94 | 34.65 | 62.25 | 59.87 | 86.1 | 82.64
Konya | TSMS03 | 197124 | 753367 | 85.99 | 82.43 | 84.75 | 78.9 | 13.93 | 15.57 | 27.14 | 29.8 | 53.06 | 56.32
Konya | TSMS04 | 250482 | 824460 | 93.61 | 91.95 | 96.71 | 93.4 | 10.92 | 11.81 | 21.8 | 23.28 | 45.84 | 48.01
Konya | TSMS05 | 144822 | 713738 | 84.63 | 84.36 | 84 | 81.86 | 14.57 | 14.71 | 27.94 | 28.37 | 53.53 | 54.71
Adana | TSMS06 | 423386 | 632006 | 17.35 | 17.73 | 11.5 | 11 | 72.85 | 74.49 | 92.65 | 92.14 | 99.16 | 98.42
Adana | TSMS07 | 579854 | 854762 | 17.71 | 19.84 | 12.9 | 13 | 71.18 | 70.63 | 93.47 | 91.32 | 99.45 | 97.99
Adana | TSMS08 | 331365 | 484906 | 17.08 | 24.57 | 10.96 | 13 | 74.53 | 67.97 | 92.49 | 86.11 | 98.94 | 94.03

## T9 p57 precipitation
Table 9 (PDF p.57): daily precipitation detection (wet day ≥ threshold), contingency counts and scores
Note: Report values only beside the 0.2 mm / all-days row (the report's definition). Valid/Wet days = station-specific ≥ 80%-complete days; Paired days and H/M/FA/CN = days both gauges are ≥ 80% complete. 'Flagged days excluded' drops days with any tipping/total_rainfall flag (for Valid/Wet days, only the station's own flag). ANKARA ROWS ARE NOT COMPARABLE: our Ankara reference rain is ×10 too high from 6 Mar 2023 (SF-09; the report used correct data); not corrected here pending the team's decision. [CSV: data/report-comparison/table-09_p57_precipitation.csv]
Site | Station | Reference | Wet threshold (mm/day) | Days used | Valid days, 3D-PAWS (report) | Valid days, 3D-PAWS (ours) | Wet days, 3D-PAWS (report) | Wet days, 3D-PAWS (ours) | Valid days, reference (ours) | Wet days, reference (ours) | Paired days (report) | Paired days (ours) | Hits (report) | Hits (ours) | Misses (report) | Misses (ours) | False alarms (report) | False alarms (ours) | Correct negatives (report) | Correct negatives (ours) | POD (report) | POD (ours) | FAR (report) | FAR (ours) | CSI (report) | CSI (ours) | Caveat
Ankara | TSMS00 | 17130 | 0.2 | all days (report definition) | 1047 | 1053 | 221 | 227 | 1075 | 343 | 1028 | 1032 | 87 | 195 | 17 | 142 | 133 | 31 | 791 | 664 | 0.837 | 0.579 | 0.605 | 0.137 | 0.367 | 0.53 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS00 | 17130 | 1 | all days |  | 1053 |  | 140 | 1075 | 301 |  | 1032 |  | 133 |  | 163 |  | 6 |  | 730 |  | 0.449 |  | 0.043 |  | 0.44 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS00 | 17130 | 0.2 | flagged days excluded |  | 560 |  | 63 | 123 | 22 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS00 | 17130 | 1 | flagged days excluded |  | 560 |  | 35 | 123 | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS01 | 17130 | 0.2 | all days (report definition) | 886 | 892 | 114 | 118 | 1075 | 343 | 868 | 872 | 43 | 93 | 33 | 176 | 69 | 23 | 723 | 580 | 0.566 | 0.346 | 0.616 | 0.198 | 0.297 | 0.318 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS01 | 17130 | 1 | all days |  | 892 |  | 67 | 1075 | 301 |  | 872 |  | 58 |  | 179 |  | 7 |  | 628 |  | 0.245 |  | 0.108 |  | 0.238 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS01 | 17130 | 0.2 | flagged days excluded |  | 457 |  | 77 | 123 | 22 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS01 | 17130 | 1 | flagged days excluded |  | 457 |  | 42 | 123 | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | [6 empty] | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS02 | 17130 | 0.2 | all days (report definition) | 890 | 895 | 164 | 169 | 1075 | 343 | 873 | 876 | 55 | 133 | 37 | 152 | 107 | 34 | 674 | 557 | 0.598 | 0.467 | 0.66 | 0.204 | 0.276 | 0.417 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS02 | 17130 | 1 | all days |  | 895 |  | 96 | 1075 | 301 |  | 876 |  | 84 |  | 167 |  | 10 |  | 615 |  | 0.335 |  | 0.106 |  | 0.322 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS02 | 17130 | 0.2 | flagged days excluded |  | 571 |  | 121 | 123 | 22 |  | 108 |  | 9 |  | 4 |  | 1 |  | 94 |  | 0.692 |  | 0.1 |  | 0.643 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS02 | 17130 | 1 | flagged days excluded |  | 571 |  | 71 | 123 | 12 |  | 108 |  | 3 |  | 4 |  | 0 |  | 101 |  | 0.429 |  | 0 |  | 0.429 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Konya | TSMS03 | 17245 | 0.2 | all days (report definition) | 973 | 1022 | 437 | 456 | 1076 | 232 | 973 | 1003 | 127 | 152 | 53 | 62 | 310 | 294 | 483 | 495 | 0.706 | 0.71 | 0.709 | 0.659 | 0.259 | 0.299
Konya | TSMS03 | 17245 | 1 | all days |  | 1022 |  | 135 | 1076 | 136 |  | 1003 |  | 91 |  | 36 |  | 38 |  | 838 |  | 0.717 |  | 0.295 |  | 0.552
Konya | TSMS03 | 17245 | 0.2 | flagged days excluded |  | 698 |  | 149 | 1001 | 169 |  | 649 |  | 98 |  | 25 |  | 36 |  | 490 |  | 0.797 |  | 0.269 |  | 0.616
Konya | TSMS03 | 17245 | 1 | flagged days excluded |  | 698 |  | 75 | 1001 | 106 |  | 649 |  | 65 |  | 13 |  | 2 |  | 569 |  | 0.833 |  | 0.03 |  | 0.812
Konya | TSMS04 | 17245 | 0.2 | all days (report definition) | 939 | 1019 | 385 | 385 | 1076 | 232 | 939 | 1000 | 124 | 148 | 57 | 69 | 261 | 226 | 497 | 557 | 0.685 | 0.682 | 0.678 | 0.604 | 0.281 | 0.334
Konya | TSMS04 | 17245 | 1 | all days |  | 1019 |  | 139 | 1076 | 136 |  | 1000 |  | 88 |  | 41 |  | 47 |  | 824 |  | 0.682 |  | 0.348 |  | 0.5
Konya | TSMS04 | 17245 | 0.2 | flagged days excluded |  | 766 |  | 148 | 1001 | 169 |  | 713 |  | 100 |  | 34 |  | 31 |  | 548 |  | 0.746 |  | 0.237 |  | 0.606
Konya | TSMS04 | 17245 | 1 | flagged days excluded |  | 766 |  | 77 | 1001 | 106 |  | 713 |  | 65 |  | 17 |  | 3 |  | 628 |  | 0.793 |  | 0.044 |  | 0.765
Konya | TSMS05 | 17245 | 0.2 | all days (report definition) | 938 | 1018 | 363 | 391 | 1076 | 232 | 938 | 999 | 142 | 169 | 37 | 45 | 221 | 215 | 538 | 570 | 0.793 | 0.79 | 0.609 | 0.56 | 0.355 | 0.394
Konya | TSMS05 | 17245 | 1 | all days |  | 1018 |  | 155 | 1076 | 136 |  | 999 |  | 113 |  | 14 |  | 37 |  | 835 |  | 0.89 |  | 0.247 |  | 0.689
Konya | TSMS05 | 17245 | 0.2 | flagged days excluded |  | 748 |  | 164 | 1001 | 169 |  | 698 |  | 121 |  | 22 |  | 23 |  | 532 |  | 0.846 |  | 0.16 |  | 0.729
Konya | TSMS05 | 17245 | 1 | flagged days excluded |  | 748 |  | 100 | 1001 | 106 |  | 698 |  | 84 |  | 7 |  | 1 |  | 606 |  | 0.923 |  | 0.012 |  | 0.913
Adana | TSMS06 | 17351 | 0.2 | all days (report definition) | 1025 | 1032 | 190 | 196 | 1074 | 441 | 1014 | 1021 | 74 | 157 | 6 | 272 | 115 | 38 | 819 | 554 | 0.925 | 0.366 | 0.608 | 0.195 | 0.379 | 0.336
Adana | TSMS06 | 17351 | 1 | all days |  | 1032 |  | 130 | 1074 | 148 |  | 1021 |  | 110 |  | 30 |  | 20 |  | 861 |  | 0.786 |  | 0.154 |  | 0.688
Adana | TSMS06 | 17351 | 0.2 | flagged days excluded |  | 608 |  | 92 | 705 | 137 |  | 426 |  | 52 |  | 12 |  | 12 |  | 350 |  | 0.812 |  | 0.188 |  | 0.684
Adana | TSMS06 | 17351 | 1 | flagged days excluded |  | 608 |  | 56 | 705 | 85 |  | 426 |  | 41 |  | 3 |  | 1 |  | 381 |  | 0.932 |  | 0.024 |  | 0.911
Adana | TSMS07 | 17351 | 0.2 | all days (report definition) | 1057 | 1064 | 280 | 286 | 1074 | 441 | 1046 | 1053 | 77 | 193 | 4 | 241 | 202 | 92 | 763 | 527 | 0.951 | 0.445 | 0.724 | 0.323 | 0.272 | 0.367
Adana | TSMS07 | 17351 | 1 | all days |  | 1064 |  | 148 | 1074 | 148 |  | 1053 |  | 106 |  | 37 |  | 42 |  | 868 |  | 0.741 |  | 0.284 |  | 0.573
Adana | TSMS07 | 17351 | 0.2 | flagged days excluded |  | 632 |  | 105 | 705 | 137 |  | 448 |  | 58 |  | 10 |  | 14 |  | 366 |  | 0.853 |  | 0.194 |  | 0.707
Adana | TSMS07 | 17351 | 1 | flagged days excluded |  | 632 |  | 65 | 705 | 85 |  | 448 |  | 44 |  | 2 |  | 1 |  | 401 |  | 0.957 |  | 0.022 |  | 0.936
Adana | TSMS08 | 17351 | 0.2 | all days (report definition) | 1058 | 1042 | 173 | 152 | 1074 | 441 | 1047 | 1031 | 63 | 116 | 18 | 306 | 108 | 34 | 858 | 575 | 0.778 | 0.275 | 0.632 | 0.227 | 0.333 | 0.254
Adana | TSMS08 | 17351 | 1 | all days |  | 1042 |  | 98 | 1074 | 148 |  | 1031 |  | 75 |  | 63 |  | 23 |  | 870 |  | 0.543 |  | 0.235 |  | 0.466
Adana | TSMS08 | 17351 | 0.2 | flagged days excluded |  | 1005 |  | 127 | 705 | 137 |  | 657 |  | 70 |  | 47 |  | 18 |  | 522 |  | 0.598 |  | 0.205 |  | 0.519
Adana | TSMS08 | 17351 | 1 | flagged days excluded |  | 1005 |  | 82 | 705 | 85 |  | 657 |  | 53 |  | 15 |  | 6 |  | 583 |  | 0.779 |  | 0.102 |  | 0.716

## Fig10.2 p62 monthly rain
Figure 10.2 (PDF p.62, not a table): monthly precipitation totals, bias and R²
Note: Report values from the text only (R² for TSMS00–07; bias only for TSMS00 −7.0 and TSMS04 +22.9 mm). Ours: monthly sums over paired ≥ 80%-complete days, bias = mean(3D-PAWS − TSMS) per month. Ankara not comparable (SF-09). [CSV: data/report-comparison/figure-10-2_p62_monthly-precipitation.csv]
Site | Station | Months (ours) | Bias mm/month (report) | Bias mm/month (ours) | R2 (report) | R2 (ours) | Ref total mm (ours) | 3D-PAWS total mm (ours) | Caveat
Ankara | TSMS00 | 36 | -7 | -268.732 | 0.68 | 0.71 | 10559.56 | 885.2 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS01 | 33 |  | -241.478 | 0.08 | 0.256 | 8357.18 | 388.4 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Ankara | TSMS02 | 34 |  | -260.891 | 0.22 | 0.213 | 9412.88 | 542.6 | NOT COMPARABLE: our Ankara reference rain is x10 too high from 2023-03-06 (SF-09, newer TSMS export); the report used correct data. Not corrected here (team decision).
Konya | TSMS03 | 36 |  | 0.006 | 0.21 | 0.442 | 790.2 | 790.4
Konya | TSMS04 | 36 | 22.9 | -0.156 | 0.01 | 0.262 | 803.8 | 798.2
Konya | TSMS05 | 36 |  | 61.694 | 0.28 | 0.001 | 790.2 | 3011.2
Adana | TSMS06 | 36 |  | 2.675 | 0.82 | 0.837 | 1298.7 | 1395
Adana | TSMS07 | 36 |  | -2.153 | 0.62 | 0.704 | 1323.1 | 1245.6
Adana | TSMS08 | 36 |  | -6.722 |  | 0.388 | 1294.2 | 1052.2

## Report checks
Internal-consistency checks of the report's tables
Note: Computed from the transcribed report values only (no data of ours). Unnumbered table on PDF p.59 (contingency interpretation) is descriptive text with no numbers, so it has no parity table. [CSV: data/report-comparison/report-consistency-checks.csv]
Check | Report table(s) | Result | Detail
Table 3 % × 1,096 days gives whole days | 3 | OK | all 48 cells
Table 2 minute % is possible given Table 3 day % | 2, 3 | OK | all 48 cells
§5.1 text range for temperature matches Table 2 | 2 | OK | text 80.94–98.62%; Table 2 80.94–98.62%
§5.1 text range for RH matches Table 2 | 2 | OK | text 62.87–91.99%; Table 2 62.87–91.99%
§5.1 text range for pressure matches Table 2 | 2 | OK | text 57.03–98.83%; Table 2 57.03–98.83%
§5.1 text range for wind speed matches Table 2 | 2 | OK | text 52.77–99.28%; Table 2 52.77–99.28%
Paired N (Tables 4–7) ≤ lower of station and reference completeness (Table 2) | 2, 4, 6, 6, 7 | OK | all 36 cells
Table 9 counts sum to paired days; POD/FAR/CSI recompute; wet/valid days ≥ paired subset | 9 | OK | all 9 stations
Table 9 implied reference wet days (H + M) | 9 | note | TSMS00: 104 of 1028; TSMS01: 76 of 868; TSMS02: 92 of 873; TSMS03: 180 of 973; TSMS04: 181 of 939; TSMS05: 179 of 938; TSMS06: 80 of 1014; TSMS07: 81 of 1046; TSMS08: 81 of 1047. Konya: Valid Days = Paired Days at all three stations, i.e. the reference was valid on every day the 3D-PAWS station was.
Table numbering | 5, 6 | FAIL | There is no Table 5; 'Table 6' is used for both relative humidity (PDF p.30) and atmospheric pressure (PDF p.38). Humidity should presumably be Table 5.
Humidity sensor label | 1, 6 (RH) | note | Table 1 names HTU21D_RH; TSMS03–08 report SHT31D values under that CHORDS label after the Jan 2024 upgrade, so the report's RH mixes two sensors (ours: 'active sensor').